| Dissecting sensitive analysis report |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Reduction in dam height (m) | 5 | 10 | 15 | 20 | 25 | 30 | 40 |
| Estimated reduction in capacity (MW) | 60 | 120 | 300 | 600 | 650 | 700 | 740 |
| Estimated percentage reduction in energy generation (%) | 2 | 5 | 7 | 14 | 16 | 19 | 25 |
| Estimated reduction in energy generation (Million kWh) | 260 | 563 | 923 | 1540 | 1853 | 2166 | 2832 |
| Estimated energy generation (Million kWh) | 12,740 | 12,437 | 12,077 | 11,460 | 11,147 | 10,834 | 10,168 |
| Estimated percentage reduction in forestland diversion (%) | 6 | 9 | 11 | 15 | 17 | 20 | 26 |
| Estimated reduction in forestland diversion (ha) | 303 | 455 | 556 | 758 | 860 | 1011 | 1315 |
| Estimated forestland diverted (ha) | 4,753 | 4,601 | 4,500 | 4,298 | 4,197 | 4,045 | 3,742 |
| Reduced Capacity (MW) | 2,940 | 2,880 | 2,700 | 2,400 | 2,350 | 2,300 | 2,260 |
| Forestland diverted per MW of installed capacity (ha/MW) | 1.62 | 1.60 | 1.67 | 1.79 | 1.79 | 1.76 | 1.66 |
| Energy generation per ha of forestland diverted (Million kWh/ha) | 2.68 | 2.70 | 2.68 | 2.67 | 2.66 | 2.68 | 2.72 |
| Tariff (Rs./ kWh) |  | 5.66 |  |  |  |  | 6.24 |

F